## Feuille1
Temps	Bit 1	Bit 2	Bit 3	Bit 4	Bit 5	Bit 6	Bit 7	Bit 8	Bit 9	Bit 10	Bit 11	Bit 12	Bit 13	Bit 14	Capteurs	Numéro dans résultat (en partant de la gauche)	(en partant de la gauche)

															Station on load			Station 1

		16384													Tourner la clef /aus	2
		128													EMERGENCY-STOP	9
		64													Switch for mode 2	10
		32													Switch for mode 1	11
		16													RELEASE button	12
		8													HALT button	13
		4													TOUCH button	14
			2		2		2		2						START button	15 +47 + 79 + 111
		1													STOP button	16 (inversé : 0 quand appuyé)

			256												Chute TRACK 2 (extended)	24
			128												Chute TRACK 1 (initial position) (fond)	25
			64												Lifting platform WORKING POSITION	26
			32												Lifting platform TOP	27
			16												Lifting platform BOTTOM	28
			8												Pusher RETRACTED (left) (truc sous l’aimant)	29
			4												Pusher EXTENDED (right) (truc sous l’aimant)	30
			2												Feed cylinder RETRACTED (aimant)	31
			1												Feed cylinder EXTENDED (aimant)	32

															Station on load			Station 2

				16384											Tourner la clef /aus	34
				128											EMERGENCY-STOP	41
				64											Switch for mode 2	42
				32											Switch for mode 1	43
				16											RELEASE button	44
				8											HALT button	45
				4											TOUCH button	46
			2		2		2		2						START button	15 +47 + 79 + 111
				1											STOP button	48

						2048									Cylinder switch test BUSHING / capteur 2	53
						1024									Sensor INDUCTIVE / capteur 4 (tout à droite)	54
						512									Sensor OPTICAL capteur 3	55
						256									Sensor CAPACITIVE / capteur 1 gauche	56
						128									Rotary gripper CLOSE gripper	57
						64									Rotary gripper RIGHT	58
						32									Rotary gripper LEFT	59
						16									Rotary gripper BOTTOM	60
						8									Rotary gripper TOP	61
						4									Position Transport RIGHT	62
						2									Position Transport test BUSHING	63
						1									Position Transport LEFT	64

															Station on load			Station 3

						16384									Tourner la clef /aus	66
						128									EMERGENCY-STOP	73
						64									Switch for mode 2	74
						32									Switch for mode 1	75
						16									RELEASE button	76
						8									HALT button	77
						4									TOUCH button	78
			2		2		2		2						START button	15 +47 + 79 + 111
						1									STOP button	80

								4096							FRA Feeder unit RETRACTED (droite)	84
								2048							FRA Feeder unit EXTENDED (droite)	85
								1024							OUT press BOTTOM(droite)	86
								512							OUT press TOP(droite)	87
								256							IN press plain bearing INSERT	88
								128							PRE Feeder unit RETRACTED (gauche)	89
								64							PRE Feeder unit EXTENDED (gauche)	90
								32							IN press BOTTOM	91
								16							IN press TOP	92
								8							Position transport RIGHT	93
								4							Position transport OUT press	94
								2							Position transport IN press	95
								1							Position transport LEFT	96

															Station on load			Station 4

								16384							Tourner la clef /aus	98
								128							EMERGENCY-STOP	105
								64							Switch for mode 2	106
								32							Switch for mode 1	107
								16							RELEASE button	108
								8							HALT button	109
								4							TOUCH button	110
			2		2		2		2						START button	15 +47 + 79 + 111
								1							STOP button	112

									16384						Sensor TRACK 6 FULL	114
									8192						Sensor TRACK 5 FULL	115
									4096						Sensor TRACK 4 FULL	116
									2048						Sensor TRACK 3 FULL	117
									1024						Sensor TRACK 2 FULL	118
									512						Sensor TRACK 1 FULL	119
									256						Rotary gripper CLOSE gripper	120
									128						Rotary gripper RIGHT	121
									64						Rotary gripper LEFT	122
									32						Rotary gripper BOTTOM	123
									16						Rotary gripper TOP	124
									8						LF400 workpiece feeder RETRACTED	125
									4						LF400 workpiece feeder EXTENDED	126
									2						LF400 sensor STORE TRACK	127
									1						LF400 position transport LEFT	128

										16384					Chute to position TRACK 2	130		Station 1 outputs
										8192					Chute to position TRACK 1	131
										4096					Relay for motor ON BOTTOM / descendre ascenseur	132
										2048					Relay for motor ON TOP / monter ascenseur	133
										1024					Magnetic pick-up for pusher (activer l’aimant)	134
										512					Feed cylinder RETRACT (tirer)	135
										256					Feed cylinder EXTEND (Pousser)	136
										128					Opening magnet TRACK 2	137
										64					Opening magnet TRACK 1	138
										32						139
										16						140
										8					Indicator light RELEASE	141
										4					Indicator light HALT	142
										2					Indicator light START	143
										1					Indicator light STOP	144

											2048				GRIP rotaty gripper	150		Station 2 outputs
											1024				SWIVEL rotary gripper	151
											512				LOWER rotary gripper	152
											256				EXTEND testing cylinder	153
											?????????				Relay plain bearing NO/YES	154
															Indicator light BRASS	155
															Indicator light STEEL	156
															Indicator light PLASTIC	157
															Indicator light RELEASE	158
															Indicator light HALT	159
															Indicator light START	160
															Indicator light STOP	161
																162
																163
																164
																165
																166
																167
																168
												128			Relay for motor ON to the LEFT	169
												64			Force activation for motor LEFT	170
												32			Relay for motor ON to the RIGHT	171
												16			Force activation for motor RIGHT

													16384		OUT press workpiece INSERT	178		Station 3 outputs
													8192		OUT press PRESS	179
													4096		IN press plain bearing INSERT	180
													2048		IN press workpiece INSERT	181
													1024		IN press PRESS	182
													512		Transport cylinder to the LEFT	183
													256		Transport cylinder to the RIGHT	184
													128		Stopper position OUT press	185
													64		Stopper position IN press	186
																187
																188
													8		Indicator light RELEASE	189
													4		Indicator light HALT	190
													2		Indicator light START	191
													1		Indicator light STOP	192

														8192	Rotary gripper GRIP	195		Station 4 outputs
														4096	Rotary gripper SWIVEL	196
														2048	Rotary gripper LOWER	197
														1024	Feed cylinder EXTEND	198
														512	Relay for motor ON to the LEFT	199
														256	Relay for motor ON to the RIGHT	200
																201
																202
																203
																204
													8		Indicator light RELEASE	205
													4		Indicator light HALT	206
													2		Indicator light START	207
													1		Indicator light STOP	208